WHAT HAS CHANGED IN THE REVISION TO EN 12845?

ALAN BRINSON

ABSTRACT

prEN 12845-1 is the draft review of EN 12845:2015+A1:2019 [1]. It has passed the CEN enquiry and the comments are being addressed. It will be a state of the art standard. A first change was to split the standard in two, with prEN 12845-2 providing complementary guidance for the design of ESFR and CMSA systems. That draft has also passed the CEN enquiry. Separately, prEN 12845-3 offers guidance for sprinkler system earthquake bracing. It is about to be circulated for CEN formal vote. This paper will review what else has changed, starting with the new hazard categories and the background behind them. It will explain the relationship between parts 1 and 2, as well as the new pump set standard and pump standard. Many other improvements have been made to introduce new technology and clarify certain areas. One major improvement is the introduction of much greater detail of what to check during periodic inspections. The standard also includes innovations to help avoid corrosion, and guidance for the design of foam-water sprinkler systems. A second draft is expected to be circulated to Turkish standards next year, and we encourage you to read and comment on it.

Key words: revision of EN 12845, sprinkler hazard analysis, sprinkler system design